## Slide 1: JPMTAnalogueSignalProcessor
PMT analogue signal processor in Jpp
M. de Jong

## Slide 2: Introduction (1/1)
Signal processing
ASIC
analogue discriminator digital TDC data
FPGA
time of leading edge [ns]
time-over-threshold [ns]
PMT

## Slide 3: Introduction (2/3)
time
threshold
time-over-threshold
gain spread
amplitude [p.e.]
definition

## Slide 4: Introduction (3/3)
charge
time-over-threshold
simulation
calibration
gain spread
gain

## Slide 5: Model (1/6)
Leading edge = Gaussian
Trailing edge = exponent
Specification:
    relates and
    constraints
definition

## Slide 6: Model (2/6)
time over threshold [ns]
number of hits [a.u.]
peak | ns
1 | 27
2 | 35
3 | 42
4 | 49
5 | 56
6 | 62
Bram Schermer
(Nikhef)
1
2
3
5
6
4

## Slide 7: Model (3/6)
kink is equivalent of clipping of voltage at amplifier output
determination of transition point requires iterative procedure
  few steps suffices
model forced linearization
effect of saturation¶
¶ See next slides.

## Slide 8: Model (4/6)
time over threshold [ns]
number of hits [a.u.]
Model for given number of photo-electrons

## Slide 9: Model (5/6)
Saturation
    time-over-threshold
J. Reubelt (Erlangen)

## Slide 10: Model (6/6)
Saturation
    good agreement

## Slide 11: Results (1/4)
input KM3NeT_00000014_00005282.root (L0 data)
old = Jpp trunk (11531)
new = this analysis

## Slide 12: Results (2/4)
old
new
gain = 0.88
spread = 0.33

## Slide 13: Results (3/4)
old
new
gain = 0.59
spread = 0.37

## Slide 14: Results (4/4)
old
new
gain = 0.43
spread = 0.38

## Slide 15: L1 data selection¶ (1/1)
c2 = 33354
gain = 0.46
spread = 0.42
c2 = 3046
gain = 0.48
spread = 0.37
¶ KM3NeT_00000014_00005009.root

## Slide 16: Comparison L0 – L1 data (1/3)
L0
L1
c2 = 2189
gain = 0.89
spread = 0.33
c2 = 1461
gain = 0.88
spread = 0.33

## Slide 17: Comparison L0 – L1 data (2/3)
L0
L1
c2 = 2271
gain = 0.60
spread = 0.38
c2 = 1097
gain = 0.59
spread = 0.37

## Slide 18: Comparison L0 – L1 data (3/3)
c2 = 3046
gain = 0.48
spread = 0.37
c2 = 1201
gain = 0.43
spread = 0.38
L0
L1

## Slide 19: Backward compatibility (1/2)
New model has less parameters than old model
  QE; gain; gain spread; rise time; TTS; threshold; offset; slope; curvature; and saturation
I/O of model parameters backward compatible (PMT efficiency file)
  QE; gain; gain spread; rise time; TTS and threshold

## Slide 20: Backward compatibility (2/2)
Some parameters of new model should have different values¶
  threshold pe
  rise time ns
Future proofness
  convert existing files by hand§
  overwrite threshold and rise time upon reading file
¶ Rise times in current PMT files exceeds maximal value.
§ Tool could be provided.

## Slide 21: Summary & Outlook (1/2)
ARCA2 data were taken with too low HVs on various PMTs
  causes a deficiency, most notably culprit(s) in analysis of depth dependence of atmospheric muons
To measure gain [and gain spread] of PMT, one needs to model time-over-threshold distribution
  new model seems to reliably work for any gain
  can be applied to L0 as well as L1 data

## Slide 22: Summary & Outlook (2/2)
Next steps (in this order)
  implement the new model as default in Jpp
  tune common parameters (threshold, rise time and fit range)
  test fits on large number of PMTs and runs (à la QE fits)
  measure gain per PMT (new)
  re-measure QE per PMT (as before, but will yield different values)
  simulate detector response (JTriggerEfficiency)
  redo data – Monte Carlo comparisons