## Slide 1: PMT simulation
M. de Jong

## Slide 2: Introduction (1/2)
PMT response
  each photon¶ is converted to a photo-electron according measured transit time distribution
  all photo-electrons are subsequently time sorted
PMT signal
  photo-electrons arriving within rise time of amplifier are merged
  amplitude of analogue signal is simulated according known gain and gain spread
¶ The QE of the PMT actually is included in km3, KM3Sim, JSirene, etc.

## Slide 3: Introduction (2/2)
PMT hit
  determination of hit time & time over threshold requires designated model
PMT hits
  overlapping PMT hits are merged
    leading edge is set to earliest leading edge of all hits
    time over threshold is set to difference between latest trailing edge and earliest leading edge of all hits
  PMT hits extending dynamic range of TDC are split
    multiple hits are generated with maximum value of TDC; time over threshold value is accordingly reduced it fits within dynamic range of TDC

## Slide 4: Transit time (1/1)
data
smoothed
Transit time is generated from measurements
  <Jpp>/software/JDetector/JPMTTransitTimeGenerator.hh
  see <Jpp>/examples/JDetector/JTTS.sh
    produces tabulated data
    to be pasted into .hh file

## Slide 5: Time over threshold (1/4)
Analysis e-log entry 186:
  Evidence that small time over threshold values are due to genuine photons
    agreement between blue and grey points in figure
no beacon
beacon
direct beacon light

## Slide 6: Time over threshold (2/4)
time
threshold
time over threshold
gain
spread
time over threshold = 0
charge [V]

## Slide 7: Time over threshold (3/4)
charge [npe]
time over threshold
1
specification
or

## Slide 8: Time over threshold (4/4)
Saturation of time over threshold
J. Reubelt at Erlangen

## Slide 9: Time slewing (1/1)
charge [V]
threshold
Gaussian
time

## Slide 10: Time slewing (2/2)
see e.g. presentation Karel M
(
0
JSlewingK40
definition

## Slide 11: PMT parameters (1/7)
Model constraints:
  threshold
    see presentation B. Schermer
  time over threshold peak
  time over threshold width

## Slide 12: PMT parameters (2/7)
time over threshold [ns]
number of hits [a.u.]
peak | ns
1 | 27
2 | 35
3 | 42
4 | 49
5 | 56
6 | 62
Bram Schermer
1
2
3
5
6
4

## Slide 13: PMT parameters (3/7)
in situ data
fit of model

## Slide 14: PMT parameters (4/7)

## Slide 15: PMT parameters (5/7)

## Slide 16: PMT parameters (6/7)

## Slide 17: PMT parameters (7/7)
JPMTParameters
threshold () 0.22 npe
gain 1.00 unit
gainSpread 0.45 unit
riseTime_ns 10.0 ns
offset () 22.0 ns
slope () 7.0 ns
curvature () 3.0 npe-1
saturation (d) 210 ns

## Slide 18: data – Monte Carlo (1/2)
gain spread
slope
gain spread
threshold

## Slide 19: data – Monte Carlo (2/2)
time
slewing

## Slide 20: Time slewing correction (1/2)
data
fit

## Slide 21: Time slewing correction (2/2)
soff = 3.3 ns
son = 3.0 ns

## Slide 22: Status & Outlook (1/2)
Simple three-parameter model for simulation of PMT hit
  describes reasonably well time over threshold
  describes reasonably well time slewing
Time slewing
  correction based on in situ K40 data
    improves time resolution by 10%

## Slide 23: Status & Outlook (2/2)
Time slewing simulation (e.g. JTriggerEfficiency)
  option -P %.slewing=1/0
    default 1
Time slewing correction (namespace JTRIGGER)
  method JHit::setSlewing(true/false)
    default true
  method JHit::getSlewing()
    current value
  applies to all derived hit types (e.g. JHitL0)